## Generators
Appendix J - SCS Districtwide Generator Preventative Maintenance Services Specification Bid Pricing
Facility | Address | Engine |  | Genset |  | Annual PM Cost Per Unit ($) | Labor Cost Per Hour ($) | Emergency Repair Labor Cost Per Hour ($) | % Discount for Manufacture Supplies & Parts | Temporary Emergency Generator Cost Per Hour ($)
|  | Make | Model | Make | Model
A. Maceo Walker Middle | 1900 East Raines Road | Chevrolet |  | Kohler | 50RZGB
Administration Building 1 | 2597 Avery | Cat | 3508D12A | Cat | SR-4
Administration Building 2 | 2597 Avery | Chrysler | Slant 6 | Onan | 30.0SK-15R/22209A
Administration Building 3 | 2597 Avery | Ford | LSG-8751-6005-A | Kohler | 100Rz232
Alcy Elementary | 1750 Alcy Rd. | PSI | PSI-8.8L | Kohler | 125REZGC
American Way Middle | 3805 American Way | Cummins | 6BT5.9-G6 | Onan | DGDA-5622676
Bayer Bldg 10 | 3030 Jackson Ave | Caterpillar | 7C5185 1,250 KW | Caterpillar | 3512
Bayer Building Bell St (across from guard shack) | 3030 Jackson Ave | Onan | 170-2305 | Onan | 15.ORDJC-18R
Bayer Building generators (SCS Head Quarters) | 3030 Jackson Ave | Cummins | GTA14G2 | Cummins | 280FDA
Avon Lennox | 310 N. Avon Rd. | Ford | 6P 680 AA | Onan | GGHF-1512849
B. T. Washington High | 715 Lauderdale | Ford | LSG-8751-6005-A | Onan | 60ENL
Belle Forrest | 3135 Ridgeway | Cummins | CCEXL0409AAD / QS87 - G5NR3 | Onan | DSGAB - 1211896
Bellevue Junior | 575 S. Bellevue | Generac | 70965/ 1.2 L | Generac | 95A021475
Bolton High (#1 Vo-T bld) | 7323 Brunswick | Ford | LRG-4251-6005-A | Onan | GGMB-736
Bolton High (#2 Behind Sc) | 7323 Brunswick | GM | 3.0 | Cummins-Onan | GGMB-7364837
Central High | 306 S. Bellevue | Cummins | GTA 8.3 G1 | Onan | GGKB-5761773
Chickasaw Junior | 4060 Westmont | Ford | C5PG-6005-A | Onan | 45.0 EM-15R
Colonial Middle | 1370 Colonial Rd | GM | 8.1L | Kohler | 100RZG
Cordova High | 1800 Berryhill rd | Ford | LSG-8751-6005-A | Kohler | 100R272
Cordova Middle | 900 N Sanga Road | Ford | GSG-8491-6005-A | Onan | 35EK
Craigmont High | 3333 Covington Pike | Waukesha | F8170 | Onan | U5.0WA-15R11954G
Dexter Elem | 7105 Dexter Rd | Ford | 26680AA | Onan | GGHE-5554131
Dexter Middle | 6998 Raleigh Lagrange | Ford | WSG1068I-6005-A | Onan | GGHHE-5554131
Douglass High | 3200 Mt. Olive Rd | Ford | WSG 1068 | Cummins | GGHH 7075950
Downtown Elem. | 10 N. Fourth St. | Ford | ESG-6421-6005-A | Onan | GGFE-5553945
Dunbar Elem. | 2602 Select | Ford | 2300 | Kohler | 20RZ
E.E. Jeter Elem | 7662 Benjestown | Ford | ESG-642I-6005-A | Cummins | GGFD-5621463
East High | 3206 Poplar | Ford | WSG1068 | Onan | GGHH-5754226
Geeter Junior | 4649 Horn Lake Road | Onan | JC | Onan | 15.ORJC-18R
Germantown High | 7653 Old Poplar | Ford | CSG-649I-6005-F | Kohler | 35RZ72
Germantown Middle | 7925 C.D.Smith Rd | GM |  | Onan | GGMA 5872518
Gordon K8 | 780 Decatur | Ford | LSG-8751-6005A | Onan | 60EN
Grays Creek Admin Bld | 2800 Grays Creek | Cummins | BCEXL0540AAB | Onan | DSHAB 7637951
Grays Creek Bld b Maint | 2800 Grays Creek | John Deere | 8.1 L | Kohler | 150 ROZJ
Grays Creek Bld D Whse | 2800 Grays Creek | Cummins | 7CEXL05470AAB | Onan | DSHAA - 5940733
Grays Creek Bldg 2A | 2800 Grays Creek | Ford | LSG-875I-6005-A | Kohler | 100RZ
Grays Creek Bldg C | 2800 Grays Creek | GM | A7083 | Generac | 1705430100
Grays Creek Bus Lot | 2800 Grays Creek | Cummins | 9CEXL0275AAG | Onan | DSFAC 1321151
Hamilton High | 1363 E Person Ave | Chevrolet | P# 83034 | Generac | 96A04565-S
Havenview Junior | 1481 Hester | Ford | LSG-4231-6005-A | Onan | 20ES
Hickory Ridge Middle | 3920 Ridgeway Road | Perkins | 2076/1800 | Olympian | YD50733
Highland Oaks Elem | 5252 Annadale Drive | GM | 4 cy 6 | Generac | 92A02453+5
Highland Oaks Middle | 5600 Meadowbriar Trail | GM | 4.3 L | Kohler | 45RZG
Kate Bond Elem. | 2727 Kate Bond Rd. | Generac | 75875 5.0l | Generac | 93A 02936 S
Kate Bond Middle | 2737 Kate Bond Rd. | Ford | 6.8L | Onan | GGHH-6233543
Keystone Elem. | 4301 Old Allen Road | Ford | CSG-6491-6005F | Kohler | 33RZ 272
Kingsbury Elementary | 4055 Bayliss Ave. | Ford | 6P 680 AA | Onan | GGHH-1515035
Kingsbury High | 1270 N. Graham | Ford | CSG-6491-6005-F | Kohler | 45RZ282
Kirby High | 4080 Kirby Parkway | Ford | LSG-6491-LRR | Kohler | 70RH771
Lowrance Elem | 7740 Lowrance Rd | Ford | LSG-8751-6005-A | Ford | LSG-8751-6005-A
Lucy Elem | 6269 Amhurst | Chevrolet | 350 | Spectrum | 60G8G
Macon Hall Elem | 9800 Macon Rd | Ford | CSG - 6491-6005-A | Onan | 35EK
Maintenance Warehouse | 1364 Farmville | Generac | 67245 A | Generac | 20KW 3279 9
Manasses High | 1111 N Manasses | Ford | WSG1068 | Cummins | GGHH-5818138
Melrose High | 2870 Deadrick | Ford | WSG1068 | Olympian | G80F3
Mt Pisgah Middle | 1444 Pisgah Rd | Ford | ESG642 | Onan | GGFD-5788388
North Area Office Bldg | 3782 Jackson Ave. | GM | 8.1L | Cummins | GGLB-9398
Northaven Elem | 5157 N Circle | Ford | 300 6 | Kohler | 45GS
Northside High | 1212 Vollintine | Ford | CGG-6491-6005F / 4.9L-6 | Kohler | 45RZ272
Nutrition Center | 3176 Jackson Ave. | Cummins | QST30-G5NR1 | Onan | DFHD-5568889
Oak Forest Elem. | 7440 Nonconnah View Cv | Ford | LSG-8751-6005-A | Kohler | 80RZ27
Parkway Village Elementary | 3000 Claudette | Kohler | PSI-8.8L | Kohler | 125REZGC
Ridgeway High | 2009 Ridgeway | Ford | 240 Six | Onan | 30EK-4XR8
Ridgeway Middle | 6333 Quince Rd. | Ford | WSG1068I-6005-A | Onan | 30EK-4XR8
Riverwood Elementary | 1330 Stern lane | Cummins | QSK23-G7 NR2 | Onan | DQCC-2372029
Sea Isle Elem. | 5250 Sea Isle | Ford | LSG-8751-6005-A | Onan | 60ENL
Sheffield Shrine School | 4259 Forest View Dr | Ford | 6P 680 AA | Onan | GGHG-1515041
Sheffield Vo-Tech | 4350 Chuck | Ford | CSG-6491-6005-A | Onan | 35EK
Shelby Oaks Elem. | 6053 Summer | Ford | LSG-8751-6005-A | Onan | 80ENAD
Sherwood Elem. | 1156 Robin Hood Lane | Generac | 62245 - A | Generac | 3279-0
Snowden School | 1870 N. Parkway | Ford | LSG-8751-6005A | Onan | 100ENTXL
Southwest Vo-Tech | 3746 Horn Lake Road | Ford | CSG-6491-6005-A | Onan | 35EK
Southwind High | 7900 E Shelby Dr | Ford | CSG - 6491-6005-A | Onan | GGHH-5788486
Trezevant High | 3350 N Trezevant | Ford | CSG-6491-6005A | Onan | 30EK L29143R
Trezevant Vo-Tech | 3224 Range Line | Ford | CSG-6491-6005A | Onan | 35EK
Vollintine Elem. | 1682 Vollintine | Ford | LSG-07451-6005-A | Onan | 60ENA
Westhaven Elem | 4585 Hodge Road 38109 | Generac | OJ2549A | Olympian | LG0080 KG189.OR18HPYYA
Westwood High | 4480 Westmont | Ford | 460GP-6005-A | Onan | 55.0 EN-15R
White Station Middle | 5465 Mason Rd | Ford | WSG1068 6P-680-AA | Onan | GGHG-5818137
Whitehaven High | 4851 Elvis Presley Blvd. | Ford | 240GF-6005-A | Onan | 30.0EK-15R/9232F
Woodstock Middle | 5909 Woodstock-Cuba | Ford | 460 | Olympian | G80LL2014H
Total Annual Cost for All Locations. Note, this total pricing exhibit must be attached in eSchoolMall to line item one of your response; total annual cost on this pricing exhibit must match cost in line item one. | [5 empty] | 0