## Generators -Zone 1
Appendix J1 - SCS Districtwide Generator Preventative Maintenance Services Specification Bid Pricing (dated 02/08/2021)
|  | Engine |  | Genset |  | Annual PM Cost Per Unit ($) | Labor Cost Per Hour ($) | Emergency Repair Labor Cost Per Hour ($) | % Discount for Manufacture Supplies & Parts | Temporary Emergency Generator Cost Per Hour ($)
ZONE 1 | Address | Make | Model | Make | Model
B.T. Washington HS/Stadium | 715 S. Lauderdale | Ford | LSG-8751-6005-A | Onan | 60ENL
Bellevue MS | 575 S. Bellevue | Generac | 70965/ 1.2 L | Generac | 95A021475
Central HS | 306 S Bellevue | Cummins | GTA 8.3 G1 | Onan | GGKB-5761773
Douglass HS | 3200 Mt. Olive | Ford | WSG 1068 | Cummins | GGHH 7075950
Downtown ES | 10 N. Fourth | Ford | ESG-6421-6005-A | Onan | GGFE-5553945
E.E Jeter ES | 7662 Benjestown | Ford | ESG-642I-6005-A | Cummins | GGFD-5621463
Gordon ES | 815 Breedlove | Ford | LSG-8751-6005A | Onan | 60EN
Keystone ES | 4301 Old Allen Rd. | Ford | CSG-6491-6005F | Kohler | 33RZ 272
Lucy ES | 6269 Amherst Rd. | Chevrolet | 350 | Spectrum | 60G8G
Maintenance Warehouse | 1364 Farmville Rd. | Generac | 67245 A | Generac | 20KW 3279 9
Manassas HS | 1111 N. Manassas | Ford | WSG1068 | Cummins | GGHH-5818138
North Area Office/Gragg/TTC | 3782 Jackson | GM | 8.1L | Cummins | GGLB-9398
Northaven ES | 5157 N Circle | Ford | 300 6 | Kohler | 45GS
Nutrition Services | 3176 Jackson Ave. | Cummins | QST30-G5NR1 | Onan | DFHD-5568889
Snowden ES | 1870 North Parkway | Ford | LSG-8751-6005A | Onan | 100ENTXL
Trezevant CTC | 3224 Range Line | Ford | CSG-6491-6005A | Onan | 35EK
Trezevant HS | 3350 Trezevant | Ford | CSG-6491-6005A | Onan | 30EK L29143R
Vollentine ES | 1682 Vollintine | Ford | LSG-07451-6005-A | Onan | 60ENA
Woodstock MS | 5885 Woodstock Cuba | Ford | 460 | Olympian | G80LL2014H
Total Annual Cost for Zone 1 Locations | [5 empty] | 0

## Generators -Zone 2
Appendix J1 - SCS Districtwide Generator Preventative Maintenance Services Specification Bid Pricing (dated 02/08/2021)
|  | Engine |  | Genset |  | Annual PM Cost Per Unit ($) | Labor Cost Per Hour ($) | Emergency Repair Labor Cost Per Hour ($) | % Discount for Manufacture Supplies & Parts | Temporary Emergency Generator Cost Per Hour ($)
ZONE 2 | Address | Make | Model | Make | Model
Adminstration Building (Avery) | 2597 Avery #1 | Caterpillar | 3508D12A | Caterpillar | SR-4
Adminstration Building (Avery) | 2597 Avery #2 | Chrysler | Slant 6 | Onan | 30.0SK-15R/22209A
Adminstration Building (Avery) | 2597 Avery #3 | Ford | LSG-8751-6005-A | Kohler | 100Rz232
Avon-Lenox School | 310 Avon | Ford | 6P 680 AA | Onan | GGHF-1512849
Bayer Bldg | 3030 Jackson Ave. | Caterpillar | 7C5185 1,250 KW | Caterpillar | 3512
Bayer Bldg Bell St. (Across from Guard Shack) | 3030 Jackson Ave. | Onan | 170-2305 | Onan | 15.ORDJC-18R
Bayer Bldg./SCS Headquarters | 3030 Jackson Ave. | Cummins | GTA14G2 | Cummins | 280FDA
Cordova HS/Stadium | 1800 Berry Hill | Ford | LSG-8751-6005-A | Kohler | 100R272
Craigmont HS | 3333 Covington Pike | Waukesha | F8170 | Onan | U5.0WA-15R11954G
Dexter ES | 7105 Dexter | Ford | 26680AA | Onan | GGHE-5554131
Dexter MS | 6998 Ral-Lagrange | Ford | WSG1068I-6005-A | Onan | GGHHE-5554131
East HS | 3206 Poplar | Ford | WSG1068 | Onan | GGHH-5754226
Grays Creek Admin Bldg | 2800 Grays Creek | Cummins | BCEXL0540AAB | Onan | DSHAB 7637951
Grays Creek Bldg B Maint | 2800 Grays Creek | John Deere | 8.1 L | Kohler | 150 ROZJ
Grays Creek Bldg D Whse | 2800 Grays Creek | Cummins | 7CEXL05470AAB | Onan | DSHAA - 5940733
Grays Creek Bldg 2A | 2800 Grays Creek | Ford | LSG-875I-6005-A | Kohler | 100RZ
Grays Creek Bus Lot | 2800 Grays Creek | GM | A7083 | Generac | 1705430100
Grays Creek (Operations Center) | 2800 Grays Creek | Cummins | 9CEXL0275AAG | Onan | DSFAC 1321151
Kate Bond ES | 2727 Kate Bond Rd. | Generac | 75875 5.0l | Generac | 93A 02936 S
Kate Bond MS | 2737 Kate Bond | Ford | 6.8L | Onan | GGHH-6233543
Kingsbury ES | 4055 Bayliss | Ford | 6P 680 AA | Onan | GGHH-1515035
Kingsbury HS | 1270 N. Graham | Ford | CSG-6491-6005-F | Kohler | 45RZ282
Macon-Hall ES | 9800 Macon Rd. | Ford | CSG - 6491-6005-A | Onan | 35EK
Mt. Pisgah MS | 1444 Mt. Pisgah | Ford | ESG642 | Onan | GGFD-5788388
Riverwood ES | 1330 Stern Lane | Ford | WSG1068I-6005-A | Onan | 30EK-4XR8
Shelby Oaks ES | 6053 Summer | Ford | LSG-8751-6005-A | Onan | 80ENAD
White Station MS | 5465 Mason Rd. | Ford | WSG1068 6P-680-AA | Onan | GGHG-5818137
Total Annual Cost for Zone 2 Locations | [5 empty] | 0

## Generators -Zone 3
Appendix J1 - SCS Districtwide Generator Preventative Maintenance Services Specification Bid Pricing (dated 02/08/2021)
|  | Engine |  | Genset |  | Annual PM Cost Per Unit ($) | Labor Cost Per Hour ($) | Emergency Repair Labor Cost Per Hour ($) | % Discount for Manufacture Supplies & Parts | Temporary Emergency Generator Cost Per Hour ($)
ZONE 3 | Address | Make | Model | Make | Model
Colonial MS | 1370 Colonial | GM | 8.1L | Kohler | 100RZG
Germantown HS/Stadium | 7653 Poplar Pike | Ford | CSG-649I-6005-F | Kohler | 35RZ72
Germantown MS | 7925 CD Smith Rd. | GM |  | Onan | GGMA 5872518
Hickory Ridge MS | 3920 Ridgeway Rd. | Perkins | 2076/1800 | Olympian | YD50733
Highland Oaks ES | 5252 Annandale Dr, | GM | 4 cy 6 | Generac | 92A02453+5
Highland Oaks MS | 5600 Meadowbriar Trail | GM | 4.3 L | Kohler | 45RZG
Kirby HS/Stadium | 4080 Kirby Parkway | Ford | LSG-6491-LRR | Kohler | 70RH771
Lowrance ES | 7740 Lowrance Rd. | Ford | LSG-8751-6005-A | Ford | LSG-8751-6005-A
Oak Forest ES | 7440 Nonconnah View Cv. | Ford | LSG-8751-6005-A | Kohler | 80RZ27
Parkway Village ES | 3001 N. Goodlett | Kohler | PSI-8.8L | Kohler | 125REZGC
Ridgeway HS | 2009 Ridgeway | Ford | 240 Six | Onan | 30EK-4XR8
Ridgeway MS | 6333 Quince | Ford | WSG1068I-6005-A | Onan | 30EK-4XR8
Sea Isle ES | 5250 Sea Isle Rd. | Ford | LSG-8751-6005-A | Onan | 60ENL
Sheffield CTC | 4350 Chuck | Ford | CSG-6491-6005-A | Onan | 35EK
Shrine School | 4259 Forest view Dr. | Ford | 6P 680 AA | Onan | GGHG-1515041
Southwind HS/Stadium | 7900 E. Shelby Drive | Ford | CSG - 6491-6005-A | Onan | GGHH-5788486
Total Annual Cost for Zone 3 Locations | [5 empty] | 0

## Generators -Zone 4
Appendix J1 - SCS Districtwide Generator Preventative Maintenance Services Specification Bid Pricing (dated 02/08/2021)
|  | Engine |  | Genset |  | Annual PM Cost Per Unit ($) | Labor Cost Per Hour ($) | Emergency Repair Labor Cost Per Hour ($) | % Discount for Manufacture Supplies & Parts | Temporary Emergency Generator Cost Per Hour ($)
ZONE 4 | Address | Make | Model | Make | Model
A. Maceo Walker MS | 1900 E. Raines | Chevrolet |  | Kohler | 50RZGB
Alcy ES | 1750 Alcy | PSI | PSI-8.8L | Kohler | 125REZGC
American Way MS | 3805 American Way | Cummins | 6BT5.9-G6 | Onan | DGDA-5622676
Chickasaw MS | 4060 Westmont | Ford | C5PG-6005-A | Onan | 45.0 EM-15R
Dunbar ES | 2606 Select | Ford | 2300 | Kohler | 20RZ
Geeter MS | 4649 Horn Lake | Onan | JC | Onan | 15.ORJC-18R
Hamilton HS | 1363 Person | Chevrolet | P# 83034 | Generac | 96A04565-S
Havenview MS | 1481 Hester | Ford | LSG-4231-6005-A | Onan | 20ES
Melrose HS | 2870 Deadrick | Ford | WSG1068 | Olympian | G80F3
Sherwood ES | 1156 Robinhood Ln. | Generac | 62245 - A | Generac | 3279-0
Southwest CTC | 3746 Horn Lake | Ford | CSG-6491-6005-A | Onan | 35EK
Westhaven ES | 4585 Hodge | Generac | OJ2549A | Olympian | LG0080 KG189.OR18HPYYA
Westwood HS | 4480 Westmont | Ford | 460GP-6005-A | Onan | 55.0 EN-15R
Whitehaven HS | 4851 Elvis Presley | Ford | 240GF-6005-A | Onan | 30.0EK-15R/9232F
Total Annual Cost for Zone 4 Locations | [5 empty] | 0